# INTERNATIONAL ASSOCIATION OF PLUMBING AND MECHANICAL OFFICIALS UNIFORM EVALUATION SERVICE

# EVALUATION CRITERIA FOR
HDPE, MDPE, AND FOAM COMPOSITE BUILDING MATERIAL
EC 035-XXXX
(Previously Adopted March 2022 and July 2018)

# INTRODUCTION

  - PURPOSE:  The intent of this criteria is to establish requirements for High-Density Polyethylene (HDPE) or Medium-Density Polyethylene (MDPE) composite shell with foam plastic core for use as building material to be recognized in an evaluation report independently reviewed and issued by a certification body under the 2024, 2021, 2018, and 2015 International Building Code® (IBC), and the 2024, 2021, 2018, and 2015 International Resident Code® (IRC); the 2025 and 2022 California Building Code® (CBC) and 2025 and 2022 California Residential Code® (CRC). Basis of recognition are 2024 IBC Section 104.2.3 and 2024 IRC Section R104.2.2 (2021, 2018, and 2015 IBC Section 104.11, 2021, 2018, and 2015 IRC Section R104.11, 2025 CBC Section 104.2.3, 2025 CRC Section R104.2.2, 2022 CBC Section 104.11, and 2022 CRC Section R104.11.

This Evaluation Criteria (EC) is intended to provide a guideline for the evaluation of HDPE or MDPE composite shell with foam plastic core as a building material, since the IBC, IRC, CBC, CRC,  and associated reference standards do not specify requirements for such usage.

1.2 SCOPE:  This document describes the test procedures and analysis methods used to assess HDPE or MDPE composite shell with foam plastic core as building material across six objectives: (1) Quality, (2) Strength, (3) Effectiveness, (4) Fire Resistance, (5) Durability and (6) Safety as set forth in for recognition in an Evaluation Service Report.

The HDPE or MDPE composite shell with foam plastic core is used primarily as a structural material with load-bearing, shear, and diaphragm capacity for a pre-fabricated integrated modular building system as an alternative to the requirements of Section 1403 of the IBC and CBC for walls and Section 1506 of the IBC and CBC for roofs. The HDPE or MDPE facing will act as the exterior and interior finish material. Other product characteristics shall comply with the governing code provisions or certification body’s evaluation criteria, as applicable.

This criteria establishes minimum standards and minimum test requirements to assess the performance of HDPE or MDPE composite shell filled with PE or equal foam plastic as a building material, together with methods of marking and identification.

This criteria also has provisions for determining Full-Scale Building Unit Tests In Seismic Design Category A to F for Determining Seismic Performance Factors (R, Ωo, Cd) as an Alternative Seismic Force-Resisting System following either Sections 5.4.7  or 5.4.8 of this criteria.

The certification body issuing the evaluation report shall be accredited as complying with ISO/IEC Standard 17065 by an accreditation body conforming to ISO/IEC 17011 that is a signatory to the International Accreditation Forum (IAF) Multilateral Recognition Agreement (MLA).

# 2.0 REFERENCED STANDARDS

2.1 GENERAL: The IAPMO Uniform ES criteria for HDPE or MDPE composite shell with foam plastic core as building material are based on and comply with the following references. Standards referenced in this criteria shall be applied consistent with the specific edition of the code(s) for which the Evaluation Report is prepared unless otherwise approved by the certification body. Unless indicated otherwise, publications listed are current editions.

2.2 INTERNATIONAL CODE COUNCIL

2.1.1 International Building Code® (IBC), 2024, 2021, 2018, and 2015 International Code Council

2.1.2 International Residential Code® (IRC), 2024, 2021, 2018, and 2015 International Code Council

2.1.3 California Building Code® (CBC), 2025 and 2022

2.1.4 California Residential Code® (CRC), 2025 and 2022

2.3 American Society of Civil Engineers

2.3.1 ASCE/SEI 7, Minimum Design Loads and Associated Criteria for Buildings and Other Structures

2.4 ASTM INTERNATIONAL

2.4.1 ASTM D695: Standard Test Method for Compressive Properties of Rigid Plastics

2.4.2 ASTM D638: Standard Test Method for Tensile Properties of Plastics

2.4.3 ASTM D732: Standard Test Method for Shear Strength of Plastics by Punch Tool

2.4.4 ASTM C518: Standard Test Method for Steady-State Thermal Transmission Properties by Means of the Heat Flow Meter Apparatus

2.4.5 ASTM D4976: Standard Specification for Polyethylene Plastics Molding and Extrusion Materials

2.4.6 ASTM E72 – 15: Standard Test Methods of Conducting Strength Tests of Panels for Building Construction

2.4.7 ASTM E108: Standard Test Methods for Fire Tests of Roof Coverings

2.4.8 ASTM D4819: Standard Specification for Flexible Cellular Materials Made from Polyolefin Plastics

2.4.9 ASTM D570: Standard Test Method for Water Absorption of Plastics

2.4.10 ASTM D6341: Standard Test Method for Determination of the Linear Coefficient of Thermal Expansion of Plastic Lumber and Plastic Lumber Shapes Between -30 and 140°F (-34.4 and 60°C)

2.4.11 ASTM D2990: Standard Test Methods for Tensile, Compressive, and Flexural Creep and Creep-Rupture of Plastics

2.4.12 ASTM C1427: Standard Specification for Extruded Preformed Flexible Cellular Polyolefin Thermal Insulation in Sheet and Tubular Form

2.4.13 ASTM E178: Standard Practice for Dealing with Outlying Observations

2.4.14 ASTM E2322 – 03(2015): Standard Test Method for Conducting Transverse and Concentrated Load Tests on Panels used in Floor and Roof Construction

2.4.15 ASTM E2126 – 19: Standard Test Methods for Cyclic (Reversed) Load Test for Shear Resistance of Vertical Elements of the Lateral Force Resisting Systems for Buildings

2.4.16 ASTM D1435: Standard Practice for Outdoor Weathering of Plastics

2.4.17 ASTM G154: Standard Practice for Operating Fluorescent Ultraviolet (UV) Lamp Apparatus for Exposure of Nonmetallic Materials

2.4.18 ASTM D7989: Standard Practice for Demonstrating Equivalent In-Plane Lateral Seismic Performance to Wood-Frame Shear Walls Sheathed with Wood Structural Panels

2.5 Federal Emergency Management Agency (FEMA)

2.5.1 FEMA 461, Interim Testing Protocols for Determining the Seismic Performance Characteristics of Structural and Nonstructural Components, June 2007

2.5.2 FEMA P695, Quantification of Building Seismic Performance Factors, June 2009

2.6 INTERNATIONAL STANDARDS ORGANIZATION

2.6.1 ISO/TR 10358:2021: Plastics pipes and fittings -- Combined chemical-resistance classification table

2.6.2 ISO/IEC 17011:2017: Conformity assessment -- Requirements for accreditation bodies accrediting conformity assessment bodies

2.6.3 ISO/IEC 17020:2012: Conformity assessment -- Requirements for the operation of various types of bodies performing inspection

2.6.4 ISO/IEC 17025:2017: General requirements for the competence of testing and calibration laboratories

2.6.5 ISO/IEC 17065:2012: Conformity assessment -- Requirements for bodies certifying products, processes and services

2.7 NATIONAL FIRE PROTECTION ASSOCIATION (NFPA)

2.7.1 NFPA 286: Standard Methods of Fire Tests for Evaluating Contribution of Wall and Ceiling Interior Finish to Room Fire Growth

2.8 NATIONAL INSTITUTE OF STANDARDS AND TECHNOLOGY (NIST)

2.8.1 NIST GCR 10-917-8, Evaluation of the FEMA P-695 Methodology for Quantification of Building Seismic Performance Factors

2.8.2 NIST GCR 12-917-20, Tentative Framework for Development of Advanced Seismic Design Criteria for New Buildings

2.9 UNDERWRITERS LABORATORIES

2.9.1 UL 94: Tests for Flammability of Plastic Materials for Parts in Devices and   Appliances

2.9.2 UL 790: Standard for Standard Test Methods for Fire Tests of Roof Coverings

3.0 DEFINITIONS

3.1 High-Density Polyethylene (HDPE): Thermoplastic material with a specific gravity of 58.7 pcf (940 kg/m³) and greater.

3.2 HDPE Composite Shell with Foam Plastic Core:  Material consisting of HDPE foamed to form a high-density outer layer and low-density core. As an alternative, the foam plastic core may consist of another foamed-in-place polymer, such as polyurethane.

3.3 Medium-Density Polyethylene (MDPE): Thermoplastic material with a specific gravity range of 57.8 to 58.7 pcf (926 to 940 kg/m³).

3.4 MDPE Composite Shell with Foam Plastic Core:  Material consisting of MDPE foamed to form a medium density outer layer and low-density core. As an alternative, the foam plastic core may consist of another foamed-in-place polymer, such as polyurethane.

3.5 Post-Consumer Recycled (PCR) Polyethylene: Plastic materials generated by the end-users of products that have completed their life cycle or can no longer be used.

3.6 Polyurethane (PU) Foam Plastic Core: Foamed-in place plastic core, consisting of polymer material used with the composite shell.

3.7 Quasi-static: Loading tha mimics dynamic loads but is slow enough that the inertial and strain-rate effects on the test specimen are negligible.

4.0 BASIC INFORMATION AND TEST REPORTS

4.1 DESCRIPTION: The following information and data shall be submitted for review and evaluation for recognition of HDPE or MDPE composite shell filled with Polyethylene or equivalent foam plastic as a building material in an evaluation report:

4.1.1 PRODUCT DESCRIPTION: Complete information pertaining to components, material specifications, and manufacturing processes. Materials shall comply with an appropriate recognized national standard(s).

4.1.1.1 COMPONENTS:

4.1.1.1.2 COMPOSITE SHELL WITH FOAM PLASTIC CORE:  Rotationally-molded High-Density Polyethylene (HDPE) or Medium-Density Polyethylene (MDPE) includes fire-retardant additives and is exposed on one side to a foaming agent to create a shell-like outer layer and foam plastic core. Alternatively, the core may consist of a polymer that is foamed in place against the outer HDPE or MDPE shells.

4.1.1.1.3 HARDWARE: A fastening system using steel bolts, plates, connectors, and brackets shall be used to tie and connect the HDPE or MDPE composite shell filled with PE or equal foam plastic building components.

4.1.1.2 MATERIAL SPECIFICATIONS:

4.1.1.2.1 FLAME RETARDANT HIGH- OR MEDIUM-DENSITY POLYETHYLENE: The material shall comply with requirements in Sections 5.2 and 5.3 of this criteria.

4.1.1.2.2 FOAMED-IN-PLACE POLYMER: The material is intended for the core only and shall comply with requirements in Section 5.3 of this criteria.

4.2 MANUFACTURING PROCESS: Either of the following processes may apply:

4.2.1 All parts shall be manufactured using rotational molding technology. Rotational molding involves a heated hollow steel mold filled with resin powder. The mold shall be made with a double-wall shell cavity construction and the resin shall be expanded to fill the cavity.

4.2.2 The exterior shells shall be manufactured using rotational molding, which involves a heated hollow steel mold filled with resin powder. The inner core shall be a polymer that is foamed into place against the inside face of the HDPE or MDPE shells, forming a sandwich-type construction.

4.3 INSTALLATION INSTRUCTIONS: Installation details and drawings, noting installation requirements and/or limitations.

4.4 IDENTIFICATION: Each part shall bear an imprint that clearly identifies the manufacturer or a registered trademark, model number or name of the product, and size. Packaging shall include the evaluation report number and certification body logo.

4.5 TEST REPORTS: The test reports shall be in accordance with specified procedures and standards (ASTM, ISO, NFPA, etc.). In addition to reporting content specified in the applicable standard, the reports shall include:

4.5.1 A description of the test procedures, test results, observations, tested assemblies, load measurements, and photographs of specimens and typical failures.

4.5.2 A description of the test specimens.

4.5.3 Information as set forth in the referenced test standard.

4.6 TESTING LABORATORIES: Testing laboratories shall be recognized by the certification body as suitable prior to testing. Testing laboratories shall be accredited for the applicable testing procedures, in accordance with ISO/IEC 17025, by a recognized accreditation body conforming to ISO/IEC 17011 that is a signatory to the International Laboratory Accreditation Cooperation (ILAC) Mutual Recognition Arrangement (MRA). Testing at a non-accredited laboratory may be permitted by the certification body, provided the testing is conducted under the supervision of an accredited laboratory and the supervising laboratory issues the test report.

# 5.0 TESTING & PERFORMANCE REQUIREMENTS

5.1 GENERAL: The HDPE or MDPE composite shell with foam plastic core building material submitted to the laboratory for testing shall be representative samples of the manufactured product. Test procedures, equipment, and materials shall be in compliance with international testing procedures and standards. All intended tests specified in Section 5.4.7 of this criteria shall be specified in a test proposal. In addition, it shall be approved by a Peer Review Panel following Sections 5.4.7 and 5.4.8 of this criteria.

5.2 HDPE or MDPE SHELL

5.2.1 General: The HDPE or MDPE may have the same specific gravity as defined in Sections 3.1 and 3.3 of this criteria, respectively, but its molecular structure may be different and shall comply with ASTM D4976, as Group 2, Class 3 or 4 for High-Density Polyethylene (HDPE), or Group 2, Class 2  for Medium- Density Polyethylene (MDPE), as applicable. The MDPE may include a 30 percent proportion of post-consumer recycled polyethylene while complying with the physical properties required in this Section 5.2. Tensile properties shall be evaluated at four or more strain rates. Properties in ASTM D4976 and Sections 5.2.3, 5.2.4, 5.2.7, 5.2.8, and 5.2.9 of this criteria shall be evaluated at 73°F (23°C), or as specified in the test procedure; optionally, testing at elevated temperatures and low temperatures may be added.

5.2.2 Fire-Retardancy: The fire-retardant characteristics shall comply with IBC Section 2606.4 as CC1 or CC2. Alternatively, fire-retardant characteristics may be determined by complying with UL94.

5.2.3 Shear Strength:

5.2.3.1 Test Description: This test will assess the HDPE or MDPE shell’s shear strength by the use of punch-type tooling in accordance with ASTM D732 procedures and will determine shear strength.

5.2.3.2 Performance Requirement: The values obtained from ASTM D732 will be used as a standard to determine the applicability and limitations of the HDPE or MDPE shell as a building material.

5.2.4 Compressive Strength

5.2.4.1 Test Description: This test will assess HDPE or MDPE shell’s performance under compressive loads. Testing will be conducted in accordance with ASTM D695 and will determine the compressive properties.

5.2.4.2 Performance Requirement: The values obtained from ASTM D695 will be used as a standard to determine the applicability and limitations of the HDPE or MDPE component as a building material.

5.2.5 Chemical Exposure: An evaluation of the chemical resistance of HDPE or MDPE shall be provided. The HDPE shall comply with ISO/TR 10358. The evaluation report shall report chemicals rated S.

5.2.6 Moisture Absorption: ASTM D570. Tests shall be conducted at 73°F (23°C).

5.2.7 Coefficient of Thermal Expansion: ASTM D6341.

5.2.8 Creep: ASTM D2990. Tests shall be conducted for 1,000 hours minimum and at least three stress levels. The creep modulus shall be reported.

5.3 HDPE FOAM PLASTIC AND FOAMED-IN-PLACE POLYMER: The HDPE foam plastic or foamed-in-place polymer shall comply as Type II in accordance with ASTM C1427 and Type I/II in accordance with ASTM D4819. The results of surface burning characteristics shall comply with IBC Section 2603.3.

5.4 STRUCTURAL TESTS

5.4.1 In-Plane Shear Wall Tests in Seismic Design Categories A, B, and C:

5.4.1.1 In-plane Testing: In-plane shear load tests on walls shall be conducted in accordance with ASTM E72 or ASTM E564 on three or more replicate specimens. The mean results of all tests are permitted for analysis provided the coefficient of variation is 15 percent or less. Otherwise, additional tests are required until the COV converges. No test shall be excluded unless determined as an outlier in accordance with ASTM E178. As an alternative, the lowest individual result may be used in the analysis.

5.4.1.2 Analysis: The allowable stress design (ASD) strength of each test series shall be the lesser of:

•	 Average peak load divided by a safety factor of three.

•	Average load at initial failure modes that compromise the load-bearing capacity in compression.

•	 Average load at a net horizontal deflection of 0.2 inch (5.1 mm).

5.4.2 In-Plane Cyclic Shear Wall Tests in Seismic Design Categories A to F:

5.4.2.1 In-Plane Testing: In-plane shear load tests on walls shall be conducted in accordance with ASTM E2126 on three or more replicate specimens. The mean results of all tests are permitted for analysis provided the coefficient of variation is 15 percent or less. Otherwise, additional tests are required until the COV converges. No test shall be excluded unless determined as an outlier in accordance with ASTM E178. As an alternative, the lowest individual result may be used in the analysis.

5.4.2.2 Load-Bearing Walls: 	Load-bearing walls may be subject to simultaneous axial compression and in-plane lateral loads acting on the facings. Additional tests shall be done to determine the effectiveness of load-bearing shear walls in areas of high seismicity. Testing shall conform to the following requirements:

5.4.2.2.1	Testing in accordance with ASTM E2126 and Section 5.4.2.1 of this criteria, modified to include axial compression loads on the test assemblies.  The axial compression loads are applied statically and need not exceed the maximum allowable axial load for the panel configuration.

5.4.2.2.2	The axial compression loads shall be constant and not vary during the in-plane displacement cycles and at completion. Verification of axial loading shall be by measurement and recording.

5.4.2.2.3	The axial compression loads shall occur over the load beam as shown in Figure 5 of ASTM E2126 or with a similar placement such that facings are fully stressed to the expected axial and shear forces during the testing.

5.4.2.3 Analysis: The allowable strength design (ASD) strength of each test series in Sections 5.4.2.1 and 5.4.2.2 of this criteria shall be determined in accordance with IAPMO UES EC-003, The Testing and Analysis of Steel Sheet Sheathing for Wood and Cold-Formed Steel Light-Framed Structure Shear Walls. The seismic design coefficients, factors, and system limitations may be taken from ASCE/SEI 7 Table 12.2-1, System A-15, provided compliance with ASTM D7989 is established. Otherwise seismic design coefficients, factors, and system limitations shall be taken from ASCE/SEI 7 Table 12.2-1, System A-17.

5.4.3 Axial Compression Load Tests:

5.4.3.1 Testing: Axial compression load tests on walls shall be conducted in accordance with ASTM E72 on three or more replicate specimens. The mean results of all tests are permitted for analysis provided the coefficient of variation is 15 percent or less. Otherwise, additional tests are required until the COV converges. No test shall be excluded unless determined as an outlier in accordance with ASTM E178. As an alternative, the lowest individual result may be used in the analysis.

5.4.3.2 Analysis: The allowable stress design (ASD) strength of each test series shall be the lesser of:

•	 Average peak load divided by a factor of safety of three.

•	 Average load at a net axial deflection of 0.125 inch (3.2 mm).

•	 Average load recorded at first cracking of plastic material.

5.4.4 Transverse Uniform Load Tests:

5.4.4.1 Testing: Transverse uniform load tests on walls, floors, and roofs shall be conducted in accordance with ASTM E2322 on three or more replicate specimens. The mean results of all tests are permitted for analysis provided the coefficient of variation is 15 percent or less. Otherwise, additional tests are required until the COV converges. No test shall be excluded unless determined as an outlier in accordance with ASTM E178. As an alternative, the lowest individual result may be used in the analysis.

5.4.4.2 Analysis:

- The allowable stress design (ASD) strength of each test series shall be the average peak load divided by a factor of safety of three or greater.

- Load-deflection relationships shall be developed, up to the limits in IBC Section 1604.3.1.

5.4.5: CONNECTIONS: Connections to the units used in the testing shall be described in detail along with installation procedures and location.

5.4.6 DESIGN: Except as stated in Section 5.4.2.3 of this criteria, the strength properties determined in Section 5.2 of this criteria shall include a factor of safety of 2.5 or greater to the yield stress and three or greater to the breaking stress for use in ASD analysis. Structural analysis and engineered design of structures shall consider basic material properties driven from tests described in Sections 5.2, 5.3, and 5.4 of this criteria. The design methodologies shall include provisions for load interactions.

5.4.7 Alternative Seismic Force-Resisting System based on Full-Scale Building Unit Tests In Seismic Design Category A to F for Determining Seismic Performance Factors (R, Ωo, Cd) : The prefabricated integrated modular building system is permitted to be qualified as an Alternative Structural System in accordance with Section 12.2.1.1 of ASCE/ SEI 7. The resulting design criteria shall address the provisions of ASCE/SEI 7 for each available configuration of the prefabricated integrated modular building system, including:

- Permitted Seismic Design Categories.

- Structural Height (hn) Limitations.

- Design procedures, including connections between components and to the supporting structures.

- Detailing methods.

- The permitted values of response modification coefficient, R; overstrength factor, Ω0; and deflection amplification factor, Cd.

A Peer Review conforming to ASCE/SEI 7 Sections 12.2.1.1 and 16.5 shall be conducted to present recommendations to the evaluation Service Agency. Representatives of the Evaluation report applicant and the evaluation service may participate as observers.

      - Testing: Testing used to support the prefabricated integrated modular building system as an Alternative Seismic Force-Resisting System shall include:

        - Material tests: Appropriate testing to support the analysis of the system shall be taken from Sections 5.2 and 5.3 of this criteria.

        - Components and connections tests: Additional testing on the performance of the components and connections comprising the system assemblies may be supplied to support the analyses.

        - Assembly and system tests: A full-scale single-building unit (a prefabricated integrated single-modular unit) is tested for each of the following tests. The loading procedure shall be stipulated in the test proposal and shall comply with a consensus document approved by the evaluation service agency and the Peer Review Panel, including ASCE/SEI 7, FEMA 461, FEMA P695, NIST GCR 10-917-8, NIST GCR 12-917-20, or other suitable reference found acceptable during the peer review.

          - Building Unit Frame only Testing: Frame only unit is a single modular which consists of roof units, four corner posts, and floor units. One modular unit sample is required for each of the following tests.

1 Monotonic Testing: The test is under quasi-static displacement loading to failure.

2 Cyclic Testing: The test is under quasi-cyclic displacement loading to failure.

3 Dynamic Testing: It is an earthquake test of a building unit with uniaxial base motion.

5.4.7.1.3.2 Building Unit Frame and Bulkhead Testing: The Frame and bulkhead unit is a single modular system, which consists of roof units, four corner posts, four side walls, and floor units. One modular unit sample is required for each of the following tests.

1. Monotonic Testing: The test is under quasi-static displacement loading to failure.

2 Cyclic Testing: The test is under quasi-static displacement loading to failure.

3 Dynamic Testing: It is an earthquake test of a building unit with uniaxial base motion

5.4.7.2 Analysis: In accordance with Section 12.2.1.1 of ASCE/SEI 7, a nonlinear analytical evaluation of the system is required to validate the system performance. The nonlinear analytical method shall account for any degradation in stiffness and strength in the inelastic range. Static (pushover) and incremental dynamic analyses (IDA) are used to compute the median collapse, which is then used to evaluate the probability of collapse for the system and determine conformance with ASCE/SEI 7 Section 12.2.1.1.

5.4.7.3 Performance: The five objectives in Section 5.4.7 of this criteria shall be determined and validated in accordance with FEMA 461, FEMA P695, NIST GCR 10-917-8, NIST GCR 12-917-20, or other suitable references found acceptable during the peer review.

5.4.8 Alternative Seismic Force-Resisting System from Performance-Based Design: Performance-based design shall be in accordance with ASCE/SEI 7 Section 1.3.1.3. The structural systems shall be based on the target reliabilities in Table 1.3-2, Target Reliability (Conditional Probability of Failure) for Structural Stability Caused by Earthquake, and Table 1.3-3, Target Reliability (Conditional Probability of Failure) for Ordinary Noncritical Structural Members Caused by Earthquake.

Three-dimensional non-linear design modeling shall be implemented and shall comply with Section 1.3.1.3.1 of ASCE/SEI 7. Wall, roof, and floor strength and stiffness shall be based on tests in Section 5.4 of this criteria. Testing shall also comply with Section 1.3.1.3.2 of ASCE/SEI 7. Modeling techniques shall be validated using the results of cyclic tests in Section 5.4.2 of this criteria. A peer review of the results in accordance with Section 1.3.1.3.4 of ASCE/SEI 7 is required. The peer review shall also comply with Section  16.5 of ASCE/ SEI 7.

5.5 FIRE EXPOSURE TESTS

5.5.1 ROOF CLASSIFICATION: Roof classification tests described in ASTM E108 or UL 790 for compliance under the IBC and IRC, are required. The roof assembly shall comply with either a Class A, B, or C roof assembly classification. ASTM E108 or UL 790 tests HDPE/PU or MDPE/PU component’s performance as roof covering, measuring the surface spread of flame and the ability of the material to resist fire penetration from the exterior to the underside. Tests shall be conducted with the maximum roof load intended for inclusion in the evaluation report, unless the component is fully supported by code complying structural deck. Test parameters will vary depending on which class is being specified for the evaluation.

5.5.2 INTERIOR EXPOSURE: A room corner fire test shall be conducted in accordance with NFPA 286 as set forth in IBC and CBC Section 803.9. The test results shall comply with IBC and CBC Section 803.1.1.1 for acceptance. The test assembly shall include the systems with wall and ceiling of maximum component thickness for which recognition is desired and shall simulate the actual field application condition. Panels intended to support superimposed loads shall be fire-resistance tested in accordance with Section 4.5, except when use is limited to non-fire-resistance-rated construction. Panels shall be loaded in a manner resulting in conditions of maximum allowable stress in floors or walls.

5.6 THERMAL RESISTANCE TESTS:

5.6.1 Steady-State Thermal Transmission Properties: In accordance with ASTM C518, this test method covers the measurement of steady-state thermal transmission through flat slab specimens using a heat flow meter apparatus. This test method may be used to characterize material properties, which may or may not be representative of actual conditions of use.

5.7 EXTERIOR EXPOSURE TESTS:

5.7.1 Weather Protection of Walls: Weather protection of the wall system shall be demonstrated as complying with IBC and CBC Section 1402.2, Exception 2. The specimens shall consist of the HDPE or MDPE composite wall system and any exterior wall coverings. The specimen thickness shall represent the minimum combination of coating and foam plastic. Additional tests for different combinations of joints, openings, sills, and interfaces with roofs may be required.

5.7.2 Water-penetration Test of Roof Panels: A 6-inch square sample of facing shall be sealed to a suitable frame with putty, mastic, or other compounds to provide a watertight seal. The frame extends from the bottom of the sample to a minimum height of 5 inches (127 mm) above the top of the sample. The head of water shall be maintained on the sample for a minimum of 24 hours. The head of water shall be 2 inches (50.8 mm) or equivalent water depth determined from the water penetration test, Section 6.5, whichever is greater.

5.7.2.1 Conditions of Acceptance: At the end of 24 hours, there shall be no indication that water has dripped from the underside of the specimens.

5.7.3 Weathering: Effects of weathering shall conform to either Section 5.7.3.1 or 5.7.3.2 of this criteria. Samples shall be the thickness(es) representative of end-use and as large as possible to facilitate both physical property and optical appearance evaluation. Physical property testing in accordance with ASTM D4976 and optical tests shall be conducted on exposed samples. Examination under minimum 5× magnification shall report any cracking, checking, crazing, erosion, or other visible damage that might affect the performance of the material. The results of physical tests shall be compared to control specimens. Any adverse variance exceeding 10 percent shall result in adjustments to the design loads.

5.7.3.1 Outdoor Exposure: The producers or users, or both, of new compounds for exterior building applications, shall conduct weathering studies on all colors of each compound produced for at least two years in at least three widely different climatic areas. A dry, hot climate, such as Phoenix, AZ; a hot, humid climate, such as Miami, FL; and a temperate northern climate, such as Northern Ohio, Kentucky, or New Jersey are suggested sites. Records of color change, physical appearance, and property change shall be maintained for reference by the purchaser.

- Samples shall be exposed in accordance with Practice D1435.

- Samples shall face south at a 45° angle of elevation for exposure periods of 6 months, 1 year, and 2 years at each exposure site selected.

5.7.3.2 Accelerated Weathering: Specimens shall be tested in accordance with ASTM G154 at approximately 315, 630, 1260, 1890, and 2520 kJ/m2 with the following parameters: UVB bulbs; 0.71 W/(m2 • nm) irradiance; 310 nm wavelength; Exposure cycle is 4 hours UV at 60 (±3) °C Black Panel Temperature and 4 hours Condensation at 50 (±3) °C Black Panel Temperature.

6.0 QUALITY CONTROL

6.1 Quality documentation complying with the IAPMO UES Review Procedures for Certified Manufacturer’s Quality Management System (IAPMO UES ES-010) shall be submitted. A complete description shall be provided of the quality management system used in the factory to manufacture the HDPE or MDPE composite shell with foam plastic core for the building system.

6.2 Inspections of manufacturing facilities are required for this product. The inspections shall be conducted by the certification body or an inspection body accredited in accordance with ISO/IEC 17020 by an accreditation body conforming to ISO/IEC 17011 that is a signatory to the International Accreditation Forum (IAF) Multilateral Recognition Agreement (MLA).

7.0 EVALUATION REPORT RECOGNITION

Evaluation reports shall include the following information:

7.1 The product identification label shall include the manufacturer’s name and address, the evaluation report number, as required by the certification body. The product identification number shall be visible on the product.

7.2 The final evaluation report shall indicate that HDPE or MDPE composite shell with foam plastic core is applicable for use as a building material and set appropriate parameters to comply with the IBC, IRC, CBC or CRC along with any other pertinent information to the satisfaction of the certification body. These parameters include structural strengths and stiffnesses, durability, weather protection, and fire exposure.

7.3 Installation, design, and quality documentation shall be based on this criteria and applicable references (e.g., ASCE/SEI 7, FEMA 461, FEMA P-695, etc.).